## Slide 1: Computational MRI
Parallel Imaging III
Non-Cartesian Imaging and Iterative Reconstruction

## Slide 2: Overview
Non-Cartesian parallel imaging
Iterative image reconstruction
The conjugate gradient algorithm and CG-SENSE

## Slide 3: Cartesian subsampling
IFT
→

## Slide 4: Cartesian subsampling
IFT
→

## Slide 5: Cartesian SENSE
T2 weighted brain scan
4-Channel receive coil
Sensitivities are known
Pruessmann et al., MRM 42: 952-962 (1999)

## Slide 6: Cartesian SENSE
Coil 1
Coil 2
Coil 3
Coil 4

## Slide 7: Parallel Imaging: SENSE
SENSE, R=2
SENSE, R=3
SENSE, R=4

## Slide 8: Radial Subsampling
Different structure of aliasing
→
R=1
R=8

## Slide 9: Spiral Subsampling
Different structure of aliasing
→

## Slide 10: Building the encoding operator
Discretization
Forward operator,
encoding matrix

## Slide 11: Image reconstruction as inverse problem
Encoding: linear system of equations
Reconstruction:
Solution of the system of equations
Inversion of the encoding matrix

## Slide 12: Inversion of the encoding matrix
Direct methods: Pseudoinverse:
Matrix K can become very large!
Magnus R and Stiefel E: Journal of Research of the National Bureau of Standards 49 (6) (1952)
Pruessmann et al., MRM 46: 638-651 (2001)
Use iterative methods
Gradient descent
Conjugate Gradient algorithm
N2
ncnk
ncnk×N2

## Slide 13: Iterative reconstruction
Forward problem
Iterative reconstruction
Given:
Forward Operator:
Measured k-space data:

## Slide 14: Iterative optimization: Gradient descent
Steepest descent
Exercise :-)

## Slide 15: GD implementation (exercise)

## Slide 16: Exercise example
T2 weighted brain scan
3T System
4 channel head coil
TSE: Sequence parameters:
  TR 5000ms
  TE 99ms
  Turbo Factor 10
  Matrix Size 256x256
  In Plane Resolution 0.9mmx0.9mm
  Slice Thickness 4mm

## Slide 17: GD radial trajectory, 128 projections, R=2

## Slide 18: GD radial trajectory, 64 projections, R=4

## Slide 19: The conjugate gradient method
Minimize in subspace spanned by search directions that are K orthogonal (conjugate):
Converges to exact solution in n steps (n is matrix size)
Source: Wikipedia
n=2 quadratic form
Gradient descent (red)
Conjugate gradient minimization (green)

## Slide 20: The conjugate gradient method
Residual
CG search direction
Update step
Step length

## Slide 21: The conjugate gradient method
Exact solution: Interpretation as direct method
In practice: Used as iterative method
  Unstable to perturbations, e.g. noise
  Required tolerance usually achieved after it<<n
Very easy to implement (≈10 lines in Matlab, ≈10 minutes of work)
Implementations for Matlab, Numerical Recipes etc.

## Slide 22: CG on the normal equations and preconditioning
Requirement: K symmetric and positive definite
CG on the normal equations
with
Preconditioning: „Modify equation such that right hand side is approximate solution“
Improve condition number
and

## Slide 24: CG radial trajectory, 128 projections, R=2

## Slide 25: CG radial trajectory, 64 projections, R=4

## Slide 26
GD-SENSE
CG-SENSE
128 projections
64 projections

## Slide 27: CG radial trajectory, 32 projections, R=8

## Slide 28: CG spiral trajectory, 12 interleaves, R≈4

## Slide 29: CG spiral trajectory, 6 interleaves, R≈8

## Slide 30: Noise propagation: Radial trajectory, 24 projections

## Slide 31: Noise propagation: Spiral trajectory, 3 interleaves

## Slide 32: Noise propagation: Cartesian, R=4

## Slide 33: Acceleration is limited
Acceleration factor approaches number of coils
Severe noise amplification
Residual artifacts
Ill conditioning of the encoding matrix
Regularize the inversion:
  CG SENSE: Stopping after a certain amount of iterations
  Regularization constraints tailored to imaging problem

## Slide 39
Consolidated Matlab implementation
Consolidated Python implementation

## Slide 40: Summary
Aliasing for non-Cartesian subsampling
Iterative reconstruction: GD, and CG
Convergence behavior
Noise propagation

## Slide 41
Challenge submissions and data: https://ismrm.github.io/rrsg/challenge_one/
Reference implementations, evaluation scripts: https://github.com/ISMRM/rrsg_challenge_01
Supplementary spiral brain and radial cardiac data: https://doi.org/10.5281/zenodo.3975887

## Slide 42: Exercise