Computational MR imaging

Laboratory 2: k-space sampling and Fourier reconstruction

Nan Lan

- FFT reconstruction of Cartesian MRI data

The image below is the magnitude and phase of the reconstructed image

- Effects of k-space zero-padding and zero padding

- The result below shows the magnitude of the reconstructed images. The center of kspace is the low frequency region, which contain the general overview and outline of image. The boundary of kspace is the low frequency region, which represents the edge and detailed information of MRI image. When the kspace is truncated and padded, the edge and detailed information lost. The more the kspace is truncated, the more blurry the MRI image.

- Besides, Gibbs ringing occurs at the boundary, especially in image recontruced by heavily truncated kspace.

- Point spread function (PSF)

The typical spectral grid is in the range of 8x8 to 32x32, the digitized signal must be significantly truncated. After the Fourier transform, the spectral peaks generated by the voxel spread to its neighbors in the form of ripples, which is mathematically described as a point spread function (psf). Full-width at half-maximum (FWHM) can describe the blurry degree. PSF function leads to information leakage and information aliasing. The larger the FWHM, the more blurred the image.

The result below shows PSF functions with different FWHM.

- Oversampling the readout dimension

- The left result is the image reconstructed by 2 times oversampling in read out dimension. The right result is the image, which doesn’t oversample. In the right result, phase wrap-around artifact occur, because the dimensions of an object exceed the defined field-of-view (FOV). Parts of the object extending beyond the field-of-view possess phases less than 0°or greater than phase dimension(in our result, phase dimension=168). The left side of the patient's body will therefore be "wrapped around" and spatially mismapped to the opposite (right) side of the image. A similar process will wrap the patient's right side around to the left.

- The image below explain the process of wrap-around artifact.